## Ormin_data_mapping
data_type | address | label | value
Discrete Inputs | 1 | D/G#1 Over Speed | 0
Discrete Inputs | 2 | D/G#1 Engine Start Failure | 0
Discrete Inputs | 3 | D/G#1 Turbo-charger gas outlet temp switch (2nd) | 0
Discrete Inputs | 4 | D/G#1 Heavy fault of oil mist detector | 0
Discrete Inputs | 5 | D/G#1 L.O press.switch for engine (2nd) | 0
Discrete Inputs | 6 | D/G#1 Jacket water thermal switch (2nd) | 0
Discrete Inputs | 7 | D/G#1 L.O press.switch for turbo-charger(2nd) | 0
Discrete Inputs | 8 | D/G#1 Jacket water press.switch (2nd) | 0
Discrete Inputs | 12 | D/G#1 Jacket water flow relay | 0
Discrete Inputs | 18 | D/G#1 Light fault of oil mist detector | 0
Discrete Inputs | 19 | D/G#1 Light fault of oil mist detector system failure | 0
Discrete Inputs | 20 | D/G#1 LO press.switch for engine(1st) | 0
Discrete Inputs | 21 | D/G#1 LO press.switch for priming | 0
Discrete Inputs | 22 | D/G#1 Cooler water press switch | 0
Discrete Inputs | 23 | D/G#1 L.O. press switch for turbo-charger (1st) | 0
Discrete Inputs | 24 | D/G#1 Jacket water thermal switch (1st) | 0
Discrete Inputs | 25 | D/G#1 Cooler water thermal switch | 0
Discrete Inputs | 26 | D/G#1 L.O. thermal switch | 0
Discrete Inputs | 27 | D/G#1 L.O. sump tank level switch | 0
Discrete Inputs | 28 | D/G#1 Jacket water press switch (1st) | 0
Discrete Inputs | 29 | D/G#1 L.O. filter differential press switch | 0
Discrete Inputs | 31 | D/G#1 F.O leak tank level switch | 0
Discrete Inputs | 32 | D/G#1 Cooler water flow relay | 0
Discrete Inputs | 33 | D/G#1 Level switch for C.W. expansion tank | 0
Discrete Inputs | 34 | D/G#1 Level switch for C.W. expansion tank | 0
Discrete Inputs | 35 | D/G#1 Level switch for J.W. expansion tank | 0
Discrete Inputs | 36 | D/G#1 Level switch for J.W. expansion tank | 0
Discrete Inputs | 37 | D/G#1 Level switch for DO service tank level high | 0
Discrete Inputs | 38 | D/G#1 Level switch for DO service tank level low | 0
Discrete Inputs | 39 | D/G#1 F.O press.switch | 0
Discrete Inputs | 45 | D/G#1 Over Speed (mechanical side) | 0
Discrete Inputs | 46 | D/G#1 Thermal switch for alternator beaing(Fly-wheel side) | 0
Discrete Inputs | 47 | D/G#1 Thermal switch for alternator beaing (Anti-Fly-wheel side) | 0
Discrete Inputs | 48 | D/G#1 RATED SPEED | 0
Discrete Inputs | 49 | D/G#1 LOW SPEED | 0
Discrete Inputs | 50 | D/G#1 STARTING SOLENOID VALVE | 0
Discrete Inputs | 51 | D/G#1 FUEL SHUT DOWN DEVICE | 0
Discrete Inputs | 52 | D/G#1 FUEL CONTROL PISTON MAGNETIC VALVE | 0
Discrete Inputs | 53 | D/G#1 FUEL OIL CUT PISTON MAGNETIC VALVE | 0
Discrete Inputs | 54 | D/G#1 GOVERNOR HANDLE SWITCH | 0
Discrete Inputs | 55 | D/G#1 TURNING HANDLE POSITION SWITCH(ON AT TURNING DEVICE OUT) | 0
Discrete Inputs | 56 | D/G#1 TURBO-CHARGER GAS OUTLET TEMP. SWITCH (1st) | 0
Discrete Inputs | 57 | D/G#1 Limit switch for change over valve | 0
Discrete Inputs | 58 | D/G#1 Limit switch for change over valve | 0
Discrete Inputs | 59 | D/G#1 Limit switch for change over valve | 0
Discrete Inputs | 60 | D/G#1 Limit switch for change over valve | 0
Discrete Inputs | 65 | D/G#1 VCB Status: Close | 0
Discrete Inputs | 66 | D/G#1 VCB Status: Open | 0
Discrete Inputs | 67 | D/G#1 VCB Status: Fault (Non-close)/trip | 0
Discrete Inputs | 69 | No.1 Turning Motor - Abnormal trip | 0
Discrete Inputs | 70 | No.1 Turning Motor - FWD Running | 0
Discrete Inputs | 71 | No.1 Turning Motor - Rev Running | 0
Discrete Inputs | 72 | No.1 Turning Motor -Remote mode | 0
Discrete Inputs | 73 | No.1 LO Priming Pump - Auto start | 0
Discrete Inputs | 74 | No.1 LO Priming Pump - Auto stop | 0
Discrete Inputs | 75 | No.1 LO Priming Pump - Abnormal trip | 0
Discrete Inputs | 76 | No.1 LO Priming Pump - Running | 0
Discrete Inputs | 77 | No.1 LO Priming Pump - Auto mode | 0
Discrete Inputs | 80 | No.1 Mist Fan - Auto start | 0
Discrete Inputs | 81 | No.1 Mist Fan - Auto stop | 0
Discrete Inputs | 82 | No.1 Mist Fan - Abnormal trip | 0
Discrete Inputs | 83 | No.1 Mist Fan - Running | 0
Discrete Inputs | 84 | No.1 Mist Fan - Auto mode | 0
Discrete Inputs | 85 | No.1 DO/HO inlet change valve - Energize | 0
Discrete Inputs | 87 | No.1 DO/HO out change valve - Energize | 0
Discrete Inputs | 89 | No.1 Alternator Space heater - Auto start | 0
Discrete Inputs | 90 | No.1 Alternator Space heater - Auto stop | 0
Discrete Inputs | 91 | No.1 Alternator Space heater - Abnormal trip | 0
Discrete Inputs | 92 | No.1 Alternator Space heater - Running | 0
Discrete Inputs | 93 | No.1 Alternator Space heater - Auto mode | 0
Discrete Inputs | 94 | No.1 HT Radiator Fan Motor - Auto start | 0
Discrete Inputs | 95 | No.1 HT Radiator Fan Motor - Auto stop | 0
Discrete Inputs | 96 | No.1 HT Radiator Fan Motor - Abnormal trip | 0
Discrete Inputs | 97 | No.1 HT Radiator Fan Motor - Running | 0
Discrete Inputs | 98 | No.1 HT Radiator Fan Motor - Auto mode | 0
Discrete Inputs | 99 | No.1 LT Radiator Fan Motor - Auto start | 0
Discrete Inputs | 100 | No.1 LT Radiator Fan Motor - Auto stop | 0
Discrete Inputs | 101 | No.1 LT Radiator Fan Motor - Abnormal trip | 0
Discrete Inputs | 102 | No.1 LT Radiator Fan Motor - Running | 0
Discrete Inputs | 103 | No.1 LT Radiator Fan Motor - Auto mode | 0
Discrete Inputs | 104 | No.1 LO purifier heater - Abnormal trip | 0
Discrete Inputs | 105 | No.1 LO purifier heater - Running | 0
Discrete Inputs | 106 | No.1 LO purifier pump - Abnormal trip | 0
Discrete Inputs | 107 | No.1 LO purifier pump - Running | 0
Discrete Inputs | 401 | D/G#2 Over Speed | 0
Discrete Inputs | 402 | D/G#2 Engine Start Failure | 0
Discrete Inputs | 403 | D/G#2 Turbo-charger gas outlet temp switch (2nd) | 0
Discrete Inputs | 404 | D/G#2 Heavy fault of oil mist detector | 0
Discrete Inputs | 405 | D/G#2 L.O press.switch for engine (2nd) | 0
Discrete Inputs | 406 | D/G#2 Jacket water thermal switch (2nd) | 0
Discrete Inputs | 407 | D/G#2 L.O press.switch for turbo-charger(2nd) | 0
Discrete Inputs | 408 | D/G#2 Jacket water press.switch (2nd) | 0
Discrete Inputs | 412 | D/G#2 Jacket water flow relay | 0
Discrete Inputs | 418 | D/G#2 Light fault of oil mist detector | 0
Discrete Inputs | 419 | D/G#2 Light fault of oil mist detector system failure | 0
Discrete Inputs | 420 | D/G#2 LO press.switch for engine(1st) | 0
Discrete Inputs | 421 | D/G#2 LO press.switch for priming | 0
Discrete Inputs | 422 | D/G#2 Cooler water press switch | 0
Discrete Inputs | 423 | D/G#2 L.O. press switch for turbo-charger (1st) | 0
Discrete Inputs | 424 | D/G#2 Jacket water thermal switch (1st) | 0
Discrete Inputs | 425 | D/G#2 Cooler water thermal switch | 0
Discrete Inputs | 426 | D/G#2 L.O. thermal switch | 0
Discrete Inputs | 427 | D/G#2 L.O. sump tank level switch | 0
Discrete Inputs | 428 | D/G#2 Jacket water press switch (1st) | 0
Discrete Inputs | 429 | D/G#2 L.O. filter differential press switch | 0
Discrete Inputs | 431 | D/G#2 F.O leak tank level switch | 0
Discrete Inputs | 432 | D/G#2 Cooler water flow relay | 0
Discrete Inputs | 433 | D/G#2 Level switch for C.W. expansion tank | 0
Discrete Inputs | 434 | D/G#2 Level switch for C.W. expansion tank | 0
Discrete Inputs | 435 | D/G#2 Level switch for J.W. expansion tank | 0
Discrete Inputs | 436 | D/G#2 Level switch for J.W. expansion tank | 0
Discrete Inputs | 437 | D/G#2 Level switch for DO service tank level high | 0
Discrete Inputs | 438 | D/G#2 Level switch for DO service tank level low | 0
Discrete Inputs | 439 | D/G#2 F.O press.switch | 0
Discrete Inputs | 445 | D/G#2 Over Speed (mechanical side) | 0
Discrete Inputs | 446 | D/G#2 Thermal switch for alternator beaing(Fly-wheel side) | 0
Discrete Inputs | 447 | D/G#2 Thermal switch for alternator beaing (Anti-Fly-wheel side) | 0
Discrete Inputs | 448 | D/G#2 RATED SPEED | 0
Discrete Inputs | 449 | D/G#2 LOW SPEED | 0
Discrete Inputs | 450 | D/G#2 STARTING SOLENOID VALVE | 0
Discrete Inputs | 451 | D/G#2 FUEL SHUT DOWN DEVICE | 0
Discrete Inputs | 452 | D/G#2 FUEL CONTROL PISTON MAGNETIC VALVE | 0
Discrete Inputs | 453 | D/G#2 FUEL OIL CUT PISTON MAGNETIC VALVE | 0
Discrete Inputs | 454 | D/G#2 GOVERNOR HANDLE SWITCH | 0
Discrete Inputs | 455 | D/G#2 TURNING HANDLE POSITION SWITCH(ON AT TURNING DEVICE OUT) | 0
Discrete Inputs | 456 | D/G#2 TURBO-CHARGER GAS OUTLET TEMP. SWITCH (1st) | 0
Discrete Inputs | 457 | D/G#2 Limit switch for change over valve | 0
Discrete Inputs | 458 | D/G#2 Limit switch for change over valve | 0
Discrete Inputs | 459 | D/G#2 Limit switch for change over valve | 0
Discrete Inputs | 460 | D/G#2 Limit switch for change over valve | 0
Discrete Inputs | 465 | D/G#2 VCB Status: Close | 0
Discrete Inputs | 466 | D/G#2 VCB Status: Open | 0
Discrete Inputs | 467 | D/G#2 VCB Status: Fault (Non-close)/trip | 0
Discrete Inputs | 469 | No.2 Turning Motor - Abnormal trip | 0
Discrete Inputs | 470 | No.2 Turning Motor - FWD Running | 0
Discrete Inputs | 471 | No.2 Turning Motor - Rev Running | 0
Discrete Inputs | 472 | No.2 Turning Motor -Remote mode | 0
Discrete Inputs | 473 | No.2 LO Priming Pump - Auto start | 0
Discrete Inputs | 474 | No.2 LO Priming Pump - Auto stop | 0
Discrete Inputs | 475 | No.2 LO Priming Pump - Abnormal trip | 0
Discrete Inputs | 476 | No.2 LO Priming Pump - Running | 0
Discrete Inputs | 477 | No.2 LO Priming Pump - Auto mode | 0
Discrete Inputs | 480 | No.2 Mist Fan - Auto start | 0
Discrete Inputs | 481 | No.2 Mist Fan - Auto stop | 0
Discrete Inputs | 482 | No.2 Mist Fan - Abnormal trip | 0
Discrete Inputs | 483 | No.2 Mist Fan - Running | 0
Discrete Inputs | 484 | No.2 Mist Fan - Auto mode | 0
Discrete Inputs | 485 | No.2 DO/HO inlet change valve - Energize | 0
Discrete Inputs | 487 | No.2 DO/HO out change valve - Energize | 0
Discrete Inputs | 489 | No.2 Alternator Space heater - Auto start | 0
Discrete Inputs | 490 | No.2 Alternator Space heater - Auto stop | 0
Discrete Inputs | 491 | No.2 Alternator Space heater - Abnormal trip | 0
Discrete Inputs | 492 | No.2 Alternator Space heater - Running | 0
Discrete Inputs | 493 | No.2 Alternator Space heater - Auto mode | 0
Discrete Inputs | 494 | No.2 HT Radiator Fan Motor - Auto start | 0
Discrete Inputs | 495 | No.2 HT Radiator Fan Motor - Auto stop | 0
Discrete Inputs | 496 | No.2 HT Radiator Fan Motor - Abnormal trip | 0
Discrete Inputs | 497 | No.2 HT Radiator Fan Motor - Running | 0
Discrete Inputs | 498 | No.2 HT Radiator Fan Motor - Auto mode | 0
Discrete Inputs | 499 | No.2 LT Radiator Fan Motor - Auto start | 0
Discrete Inputs | 500 | No.2 LT Radiator Fan Motor - Auto stop | 0
Discrete Inputs | 501 | No.2 LT Radiator Fan Motor - Abnormal trip | 0
Discrete Inputs | 502 | No.2 LT Radiator Fan Motor - Running | 0
Discrete Inputs | 503 | No.2 LT Radiator Fan Motor - Auto mode | 0
Discrete Inputs | 504 | No.2 LO purifier heater - Abnormal trip | 0
Discrete Inputs | 505 | No.2 LO purifier heater - Running | 0
Discrete Inputs | 506 | No.2 LO purifier pump - Abnormal trip | 0
Discrete Inputs | 507 | No.2 LO purifier pump - Running | 0
Discrete Inputs | 801 | D/G#3 Over Speed | 0
Discrete Inputs | 802 | D/G#3 Engine Start Failure | 0
Discrete Inputs | 803 | D/G#3 Turbo-charger gas outlet temp switch (2nd) | 0
Discrete Inputs | 804 | D/G#3 Heavy fault of oil mist detector | 0
Discrete Inputs | 805 | D/G#3 L.O press.switch for engine (2nd) | 0
Discrete Inputs | 806 | D/G#3 Jacket water thermal switch (2nd) | 0
Discrete Inputs | 807 | D/G#3 L.O press.switch for turbo-charger(2nd) | 0
Discrete Inputs | 808 | D/G#3 Jacket water press.switch (2nd) | 0
Discrete Inputs | 812 | D/G#3 Jacket water flow relay | 0
Discrete Inputs | 818 | D/G#3 Light fault of oil mist detector | 0
Discrete Inputs | 819 | D/G#3 Light fault of oil mist detector system failure | 0
Discrete Inputs | 820 | D/G#3 LO press.switch for engine(1st) | 0
Discrete Inputs | 821 | D/G#3 LO press.switch for priming | 0
Discrete Inputs | 822 | D/G#3 Cooler water press switch | 0
Discrete Inputs | 823 | D/G#3 L.O. press switch for turbo-charger (1st) | 0
Discrete Inputs | 824 | D/G#3 Jacket water thermal switch (1st) | 0
Discrete Inputs | 825 | D/G#3 Cooler water thermal switch | 0
Discrete Inputs | 826 | D/G#3 L.O. thermal switch | 0
Discrete Inputs | 827 | D/G#3 L.O. sump tank level switch | 0
Discrete Inputs | 828 | D/G#3 Jacket water press switch (1st) | 0
Discrete Inputs | 829 | D/G#3 L.O. filter differential press switch | 0
Discrete Inputs | 831 | D/G#3 F.O leak tank level switch | 0
Discrete Inputs | 832 | D/G#3 Cooler water flow relay | 0
Discrete Inputs | 833 | D/G#3 Level switch for C.W. expansion tank | 0
Discrete Inputs | 834 | D/G#3 Level switch for C.W. expansion tank | 0
Discrete Inputs | 835 | D/G#3 Level switch for J.W. expansion tank | 0
Discrete Inputs | 836 | D/G#3 Level switch for J.W. expansion tank | 0
Discrete Inputs | 837 | D/G#3 Level switch for DO service tank level high | 0
Discrete Inputs | 838 | D/G#3 Level switch for DO service tank level low | 0
Discrete Inputs | 839 | D/G#3 F.O press.switch | 0
Discrete Inputs | 845 | D/G#3 Over Speed (mechanical side) | 0
Discrete Inputs | 846 | D/G#3 Thermal switch for alternator beaing(Fly-wheel side) | 0
Discrete Inputs | 847 | D/G#3 Thermal switch for alternator beaing (Anti-Fly-wheel side) | 0
Discrete Inputs | 848 | D/G#3 RATED SPEED | 0
Discrete Inputs | 849 | D/G#3 LOW SPEED | 0
Discrete Inputs | 850 | D/G#3 STARTING SOLENOID VALVE | 0
Discrete Inputs | 851 | D/G#3 FUEL SHUT DOWN DEVICE | 0
Discrete Inputs | 852 | D/G#3 FUEL CONTROL PISTON MAGNETIC VALVE | 0
Discrete Inputs | 853 | D/G#3 FUEL OIL CUT PISTON MAGNETIC VALVE | 0
Discrete Inputs | 854 | D/G#3 GOVERNOR HANDLE SWITCH | 0
Discrete Inputs | 855 | D/G#3 TURNING HANDLE POSITION SWITCH(ON AT TURNING DEVICE OUT) | 0
Discrete Inputs | 856 | D/G#3 TURBO-CHARGER GAS OUTLET TEMP. SWITCH (1st) | 0
Discrete Inputs | 857 | D/G#3 Limit switch for change over valve | 0
Discrete Inputs | 858 | D/G#3 Limit switch for change over valve | 0
Discrete Inputs | 859 | D/G#3 Limit switch for change over valve | 0
Discrete Inputs | 860 | D/G#3 Limit switch for change over valve | 0
Discrete Inputs | 865 | D/G#3 VCB Status: Close | 0
Discrete Inputs | 866 | D/G#3 VCB Status: Open | 0
Discrete Inputs | 867 | D/G#3 VCB Status: Fault (Non-close)/trip | 0
Discrete Inputs | 869 | No.3 Turning Motor - Abnormal trip | 0
Discrete Inputs | 870 | No.3 Turning Motor - FWD Running | 0
Discrete Inputs | 871 | No.3 Turning Motor - Rev Running | 0
Discrete Inputs | 872 | No.3 Turning Motor -Remote mode | 0
Discrete Inputs | 873 | No.3 LO Priming Pump - Auto start | 0
Discrete Inputs | 874 | No.3 LO Priming Pump - Auto stop | 0
Discrete Inputs | 875 | No.3 LO Priming Pump - Abnormal trip | 0
Discrete Inputs | 876 | No.3 LO Priming Pump - Running | 0
Discrete Inputs | 877 | No.3 LO Priming Pump - Auto mode | 0
Discrete Inputs | 880 | No.3 Mist Fan - Auto start | 0
Discrete Inputs | 881 | No.3 Mist Fan - Auto stop | 0
Discrete Inputs | 882 | No.3 Mist Fan - Abnormal trip | 0
Discrete Inputs | 883 | No.3 Mist Fan - Running | 0
Discrete Inputs | 884 | No.3 Mist Fan - Auto mode | 0
Discrete Inputs | 885 | No.3 DO/HO inlet change valve - Energize | 0
Discrete Inputs | 887 | No.3 DO/HO out change valve - Energize | 0
Discrete Inputs | 889 | No.3 Alternator Space heater - Auto start | 0
Discrete Inputs | 890 | No.3 Alternator Space heater - Auto stop | 0
Discrete Inputs | 891 | No.3 Alternator Space heater - Abnormal trip | 0
Discrete Inputs | 892 | No.3 Alternator Space heater - Running | 0
Discrete Inputs | 893 | No.3 Alternator Space heater - Auto mode | 0
Discrete Inputs | 894 | No.3 HT Radiator Fan Motor - Auto start | 0
Discrete Inputs | 895 | No.3 HT Radiator Fan Motor - Auto stop | 0
Discrete Inputs | 896 | No.3 HT Radiator Fan Motor - Abnormal trip | 0
Discrete Inputs | 897 | No.3 HT Radiator Fan Motor - Running | 0
Discrete Inputs | 898 | No.3 HT Radiator Fan Motor - Auto mode | 0
Discrete Inputs | 899 | No.3 LT Radiator Fan Motor - Auto start | 0
Discrete Inputs | 900 | No.3 LT Radiator Fan Motor - Auto stop | 0
Discrete Inputs | 901 | No.3 LT Radiator Fan Motor - Abnormal trip | 0
Discrete Inputs | 902 | No.3 LT Radiator Fan Motor - Running | 0
Discrete Inputs | 903 | No.3 LT Radiator Fan Motor - Auto mode | 0
Discrete Inputs | 904 | No.3 LO purifier heater - Abnormal trip | 0
Discrete Inputs | 905 | No.3 LO purifier heater - Running | 0
Discrete Inputs | 906 | No.3 LO purifier pump - Abnormal trip | 0
Discrete Inputs | 907 | No.3 LO purifier pump - Running | 0
Discrete Inputs | 1201 | D/G#4 Over Speed | 0
Discrete Inputs | 1202 | D/G#4 Engine Start Failure | 0
Discrete Inputs | 1203 | D/G#4 Turbo-charger gas outlet temp switch (2nd) | 0
Discrete Inputs | 1204 | D/G#4 Heavy fault of oil mist detector | 0
Discrete Inputs | 1205 | D/G#4 L.O press.switch for engine (2nd) | 0
Discrete Inputs | 1206 | D/G#4 Jacket water thermal switch (2nd) | 0
Discrete Inputs | 1207 | D/G#4 L.O press.switch for turbo-charger(2nd) | 0
Discrete Inputs | 1208 | D/G#4 Jacket water press.switch (2nd) | 0
Discrete Inputs | 1212 | D/G#4 Jacket water flow relay | 0
Discrete Inputs | 1218 | D/G#4 Light fault of oil mist detector | 0
Discrete Inputs | 1219 | D/G#4 Light fault of oil mist detector system failure | 0
Discrete Inputs | 1220 | D/G#4 LO press.switch for engine(1st) | 0
Discrete Inputs | 1221 | D/G#4 LO press.switch for priming | 0
Discrete Inputs | 1222 | D/G#4 Cooler water press switch | 0
Discrete Inputs | 1223 | D/G#4 L.O. press switch for turbo-charger (1st) | 0
Discrete Inputs | 1224 | D/G#4 Jacket water thermal switch (1st) | 0
Discrete Inputs | 1225 | D/G#4 Cooler water thermal switch | 0
Discrete Inputs | 1226 | D/G#4 L.O. thermal switch | 0
Discrete Inputs | 1227 | D/G#4 L.O. sump tank level switch | 0
Discrete Inputs | 1228 | D/G#4 Jacket water press switch (1st) | 0
Discrete Inputs | 1229 | D/G#4 L.O. filter differential press switch | 0
Discrete Inputs | 1230 | D/G#4 T/C L.O filter differential press switch | 0
Discrete Inputs | 1231 | D/G#4 F.O leak tank level switch | 0
Discrete Inputs | 1232 | D/G#4 Cooler water flow relay | 0
Discrete Inputs | 1233 | D/G#4 Level switch for C.W. expansion tank | 0
Discrete Inputs | 1234 | D/G#4 Level switch for C.W. expansion tank | 0
Discrete Inputs | 1235 | D/G#4 Level switch for J.W. expansion tank | 0
Discrete Inputs | 1236 | D/G#4 Level switch for J.W. expansion tank | 0
Discrete Inputs | 1237 | D/G#4 Level switch for DO service tank level high | 0
Discrete Inputs | 1238 | D/G#4 Level switch for DO service tank level low | 0
Discrete Inputs | 1239 | D/G#4 F.O press.switch | 0
Discrete Inputs | 1245 | D/G#4 Over Speed (mechanical side) | 0
Discrete Inputs | 1246 | D/G#4 Thermal switch for alternator beaing(Fly-wheel side) | 0
Discrete Inputs | 1247 | D/G#4 Thermal switch for alternator beaing (Anti-Fly-wheel side) | 0
Discrete Inputs | 1248 | D/G#4 RATED SPEED | 0
Discrete Inputs | 1249 | D/G#4 LOW SPEED | 0
Discrete Inputs | 1250 | D/G#4 STARTING SOLENOID VALVE | 0
Discrete Inputs | 1251 | D/G#4 FUEL SHUT DOWN DEVICE | 0
Discrete Inputs | 1252 | D/G#4 FUEL CONTROL PISTON MAGNETIC VALVE | 0
Discrete Inputs | 1253 | D/G#4 FUEL OIL CUT PISTON MAGNETIC VALVE | 0
Discrete Inputs | 1254 | D/G#4 GOVERNOR HANDLE SWITCH | 0
Discrete Inputs | 1255 | D/G#4 TURNING HANDLE POSITION SWITCH(ON AT TURNING DEVICE OUT) | 0
Discrete Inputs | 1256 | D/G#4 TURBO-CHARGER GAS OUTLET TEMP. SWITCH (1st) | 0
Discrete Inputs | 1257 | D/G#4 Limit switch for change over valve | 0
Discrete Inputs | 1258 | D/G#4 Limit switch for change over valve | 0
Discrete Inputs | 1259 | D/G#4 Limit switch for change over valve | 0
Discrete Inputs | 1260 | D/G#4 Limit switch for change over valve | 0
Discrete Inputs | 1265 | D/G#4 VCB Status: Close | 0
Discrete Inputs | 1266 | D/G#4 VCB Status: Open | 0
Discrete Inputs | 1267 | D/G#4 VCB Status: Fault (Non-close)/trip | 0
Discrete Inputs | 1269 | No.4 Turning Motor - Abnormal trip | 0
Discrete Inputs | 1270 | No.4 Turning Motor - FWD Running | 0
Discrete Inputs | 1271 | No.4 Turning Motor - Rev Running | 0
Discrete Inputs | 1272 | No.4 Turning Motor -Remote mode | 0
Discrete Inputs | 1273 | No.4 LO Priming Pump - Auto start | 0
Discrete Inputs | 1274 | No.4 LO Priming Pump - Auto stop | 0
Discrete Inputs | 1275 | No.4 LO Priming Pump - Abnormal trip | 0
Discrete Inputs | 1276 | No.4 LO Priming Pump - Running | 0
Discrete Inputs | 1277 | No.4 LO Priming Pump - Auto mode | 0
Discrete Inputs | 1280 | No.4 Mist Fan - Auto start | 0
Discrete Inputs | 1281 | No.4 Mist Fan - Auto stop | 0
Discrete Inputs | 1282 | No.4 Mist Fan - Abnormal trip | 0
Discrete Inputs | 1283 | No.4 Mist Fan - Running | 0
Discrete Inputs | 1284 | No.4 Mist Fan - Auto mode | 0
Discrete Inputs | 1285 | No.4 DO/HO inlet change valve - Energize | 0
Discrete Inputs | 1287 | No.4 DO/HO out change valve - Energize | 0
Discrete Inputs | 1289 | No.4 Alternator Space heater - Auto start | 0
Discrete Inputs | 1290 | No.4 Alternator Space heater - Auto stop | 0
Discrete Inputs | 1291 | No.4 Alternator Space heater - Abnormal trip | 0
Discrete Inputs | 1292 | No.4 Alternator Space heater - Running | 0
Discrete Inputs | 1293 | No.4 Alternator Space heater - Auto mode | 0
Discrete Inputs | 1294 | No.4 HT Radiator Fan Motor - Auto start | 0
Discrete Inputs | 1295 | No.4 HT Radiator Fan Motor - Auto stop | 0
Discrete Inputs | 1296 | No.4 HT Radiator Fan Motor - Abnormal trip | 0
Discrete Inputs | 1297 | No.4 HT Radiator Fan Motor - Running | 0
Discrete Inputs | 1298 | No.4 HT Radiator Fan Motor - Auto mode | 0
Discrete Inputs | 1299 | No.4 LT Radiator Fan Motor - Auto start | 0
Discrete Inputs | 1300 | No.4 LT Radiator Fan Motor - Auto stop | 0
Discrete Inputs | 1301 | No.4 LT Radiator Fan Motor - Abnormal trip | 0
Discrete Inputs | 1302 | No.4 LT Radiator Fan Motor - Running | 0
Discrete Inputs | 1303 | No.4 LT Radiator Fan Motor - Auto mode | 0
Discrete Inputs | 1304 | No.4 LO purifier heater - Abnormal trip | 0
Discrete Inputs | 1305 | No.4 LO purifier heater - Running | 0
Discrete Inputs | 1306 | No.4 LO purifier pump - Abnormal trip | 0
Discrete Inputs | 1307 | No.4 LO purifier pump - Running | 0
Discrete Inputs | 1601 | Air receiver press switch (Below 2.16MPa) | 0
Discrete Inputs | 1604 | Air receiver press switch (Below 1.77MPa) | 0
Discrete Inputs | 1607 | Level switch for DO service tank level control | 0
Discrete Inputs | 1608 | Level switch for HO settling tank level high | 0
Discrete Inputs | 1609 | Level switch for HO settling tank level low | 0
Discrete Inputs | 1610 | Level switch for HO settling tank level control | 0
Discrete Inputs | 1611 | Level switch for HO service tank level low | 0
Discrete Inputs | 1612 | Level switch for F.O drain tank level control | 0
Discrete Inputs | 1613 | Level switch for F.O drain tank | 0
Discrete Inputs | 1614 | Press switch for auto back wash filter | 0
Discrete Inputs | 1616 | No.1 Air Compressor - Auto mode | 0
Discrete Inputs | 1617 | No.2 Air Compressor - Auto start | 0
Discrete Inputs | 1619 | Thermostat switch for line heater | 0
Discrete Inputs | 1620 | Thermostat switch for line heater | 0
Discrete Inputs | 1621 | Thermostat sensor for HO Settling tank | 0
Discrete Inputs | 1622 | (Thermostat sensor for HO Settling tank heater) | 0
Discrete Inputs | 1623 | Thermostat switch for HO Service tank heater | 0
Discrete Inputs | 1624 | Thermostat switch for HO Service tank(upper) | 0
Discrete Inputs | 1625 | (Thermostat switch for HO Service tank heater) | 0
Discrete Inputs | 1626 | Thermostat switch for HO Engine inlet | 0
Discrete Inputs | 1627 | Thermostat switch for HO Engine inlet | 0
Discrete Inputs | 1628 | Press switch for HO piping | 0
Discrete Inputs | 1629 | Press switch for DO piping | 0
Discrete Inputs | 1630 | Thermostat switch for Drain Tank | 0
Discrete Inputs | 1631 | (Thermostat switch for Drain Tank Heater) | 0
Discrete Inputs | 1636 | No.1 Air Compressor - Auto start | 0
Discrete Inputs | 1637 | No.1 Air Compressor - Auto Stop | 0
Discrete Inputs | 1638 | No.1 Air Compressor - Abnormal trip | 0
Discrete Inputs | 1639 | No.1 Air Compressor - Running | 0
Discrete Inputs | 1642 | No.2 Air Compressor - Auto Stop | 0
Discrete Inputs | 1644 | No.2 Air Compressor - Running | 0
Discrete Inputs | 1645 | No.2 Air Compressor - Auto mode | 0
Discrete Inputs | 1646 | No.1 DO Transfer Pump - Auto start | 0
Discrete Inputs | 1647 | No.1 DO Transfer Pump - Auto stop | 0
Discrete Inputs | 1648 | No.1 DO Transfer Pump - Abnormal trip | 0
Discrete Inputs | 1649 | No.1 DO Transfer Pump - Running | 0
Discrete Inputs | 1650 | No.1 DO Transfer Pump - Auto mode | 0
Discrete Inputs | 1651 | No.2 DO Transfer Pump - Auto start | 0
Discrete Inputs | 1652 | No.2 DO Transfer Pump - Auto stop | 0
Discrete Inputs | 1653 | No.2 DO Transfer Pump - Abnormal trip | 0
Discrete Inputs | 1654 | No.2 DO Transfer Pump - Running | 0
Discrete Inputs | 1655 | No.2 DO Transfer Pump - Auto mode | 0
Discrete Inputs | 1656 | No.1 DO Feed Pump - Auto start | 0
Discrete Inputs | 1657 | No.1 DO Feed Pump - Auto stop | 0
Discrete Inputs | 1658 | No.1 DO Feed Pump - Abnormal trip | 0
Discrete Inputs | 1659 | No.1 DO Feed Pump - Running | 0
Discrete Inputs | 1660 | No.1 DO Feed Pump - Auto start | 0
Discrete Inputs | 1661 | No.2DO Feed Pump - Auto start | 0
Discrete Inputs | 1662 | No.2 DO Feed Pump - Auto stop | 0
Discrete Inputs | 1663 | No.2 DO Feed Pump - Abnormal trip | 0
Discrete Inputs | 1664 | No.2 DO Feed Pump - Running | 0
Discrete Inputs | 1665 | No.2 DO Feed Pump - Auto start | 0
Discrete Inputs | 1666 | No.1 HO Transfer Pump - Auto start | 0
Discrete Inputs | 1667 | No.1 HO Transfer Pump - Auto stop | 0
Discrete Inputs | 1668 | No.1 HO Transfer Pump - Abnormal trip | 0
Discrete Inputs | 1669 | No.1 HO Transfer Pump - Running | 0
Discrete Inputs | 1670 | No.1 HO Transfer Pump - Auto mode | 0
Discrete Inputs | 1671 | No.2 HO Transfer Pump - Auto start | 0
Discrete Inputs | 1672 | No.2 HO Transfer Pump - Auto stop | 0
Discrete Inputs | 1673 | No.1 HO Transfer Pump - Abnormal trip | 0
Discrete Inputs | 1674 | No.1 HO Transfer Pump - Running | 0
Discrete Inputs | 1675 | No.1 HO Transfer Pump - Auto mode | 0
Discrete Inputs | 1676 | No.1 HO Pressure Pump - Auto start | 0
Discrete Inputs | 1677 | No.1 HO Pressure Pump - Auto stop | 0
Discrete Inputs | 1678 | No.1 HO Pressure Pump - Abnormal trip | 0
Discrete Inputs | 1679 | No.1 HO Pressure Pump - Running | 0
Discrete Inputs | 1680 | No.1 HO Pressure Pump - Auto mode | 0
Discrete Inputs | 1681 | No.2 HO Pressure Pump - Auto start | 0
Discrete Inputs | 1682 | No.2 HO Pressure Pump - Auto stop | 0
Discrete Inputs | 1683 | No.2 HO Pressure Pump - Abnormal trip | 0
Discrete Inputs | 1684 | No.2 HO Pressure Pump - Running | 0
Discrete Inputs | 1685 | No.2 HO Pressure Pump - Auto mode | 0
Discrete Inputs | 1686 | No.1 HO Feed Pump - Auto start | 0
Discrete Inputs | 1687 | No.1 HO Feed Pump - Auto stop | 0
Discrete Inputs | 1688 | No.1 HO Feed Pump - Abnormal trip | 0
Discrete Inputs | 1689 | No.1 HO Feed Pump - Running | 0
Discrete Inputs | 1690 | No.1 HO Feed Pump - Auto mode | 0
Discrete Inputs | 1691 | No.2 HO Feed Pump - Auto start | 0
Discrete Inputs | 1692 | No.2 HO Feed Pump - Auto stop | 0
Discrete Inputs | 1693 | No.2 HO Feed Pump - Abnormal trip | 0
Discrete Inputs | 1694 | No.2 HO Feed Pump - Running | 0
Discrete Inputs | 1695 | No.2 HO Feed Pump - Auto mode | 0
Discrete Inputs | 1696 | No.1 FO Drain Pump - Auto start | 0
Discrete Inputs | 1697 | No.1 FO Drain Pump - Auto stop | 0
Discrete Inputs | 1698 | No.1 FO Drain Pump - Abnormal trip | 0
Discrete Inputs | 1699 | No.1 FO Drain Pump - Running | 0
Discrete Inputs | 1700 | No.1 FO Drain Pump - Auto mode | 0
Discrete Inputs | 1701 | No.2 FO Drain Pump - Auto start | 0
Discrete Inputs | 1702 | No.2 FO Drain Pump - Auto stop | 0
Discrete Inputs | 1703 | No.2 FO Drain Pump - Abnormal trip | 0
Discrete Inputs | 1704 | No.2 FO Drain Pump - Running | 0
Discrete Inputs | 1705 | No.2 FO Drain Pump - Auto mode | 0
Discrete Inputs | 1706 | No.1 Inlet Fan - Auto start | 0
Discrete Inputs | 1707 | No.1 Inlet Fan - Auto stop | 0
Discrete Inputs | 1708 | No.1 Inlet Fan - Abnormal trip | 0
Discrete Inputs | 1709 | No.1 Inlet Fan - Running | 0
Discrete Inputs | 1710 | No.1 Inlet Fan - Auto mode | 0
Discrete Inputs | 1711 | No.2 Inlet Fan - Auto start | 0
Discrete Inputs | 1712 | No.2 Inlet Fan - Auto stop | 0
Discrete Inputs | 1713 | No.2 Inlet Fan - Abnormal trip | 0
Discrete Inputs | 1714 | No.2 Inlet Fan - Running | 0
Discrete Inputs | 1715 | No.2 Inlet Fan - Auto mode | 0
Discrete Inputs | 1716 | No.3 Inlet Fan - Auto start | 0
Discrete Inputs | 1717 | No.3 Inlet Fan - Auto stop | 0
Discrete Inputs | 1718 | No.3 Inlet Fan - Abnormal trip | 0
Discrete Inputs | 1719 | No.3 Inlet Fan - Running | 0
Discrete Inputs | 1720 | No.3 Inlet Fan - Auto mode | 0
Discrete Inputs | 1721 | No.4 Inlet Fan - Auto start | 0
Discrete Inputs | 1722 | No.4 Inlet Fan - Auto stop | 0
Discrete Inputs | 1723 | No.4 Inlet Fan - Abnormal trip | 0
Discrete Inputs | 1724 | No.4 Inlet Fan - Running | 0
Discrete Inputs | 1725 | No.4 Inlet Fan - Auto mode | 0
Discrete Inputs | 1726 | No.5 Inlet Fan - Auto start | 0
Discrete Inputs | 1727 | No.5 Inlet Fan - Auto stop | 0
Discrete Inputs | 1728 | No.5 Inlet Fan - Abnormal trip | 0
Discrete Inputs | 1729 | No.5 Inlet Fan - Running | 0
Discrete Inputs | 1730 | No.5 Inlet Fan - Auto mode | 0
Discrete Inputs | 1731 | No.1 Outlet Fan - Auto start | 0
Discrete Inputs | 1732 | No.1 Outlet Fan - Auto stop | 0
Discrete Inputs | 1733 | No.1 Outlet Fan - Abnormal trip | 0
Discrete Inputs | 1734 | No.1 Outlet Fan - Running | 0
Discrete Inputs | 1735 | No.1 Outlet Fan - Auto mode | 0
Discrete Inputs | 1736 | No.2 Outlet Fan - Auto start | 0
Discrete Inputs | 1737 | No.2 Outlet Fan - Auto stop | 0
Discrete Inputs | 1738 | No.2 Outlet Fan - Abnormal trip | 0
Discrete Inputs | 1739 | No.2 Outlet Fan - Running | 0
Discrete Inputs | 1740 | No.2 Outlet Fan - Auto mode | 0
Discrete Inputs | 1741 | No.3 Outlet Fan - Auto start | 0
Discrete Inputs | 1742 | No.3 Outlet Fan - Auto stop | 0
Discrete Inputs | 1743 | No.3 Outlet Fan - Abnormal trip | 0
Discrete Inputs | 1744 | No.3 Outlet Fan - Running | 0
Discrete Inputs | 1745 | No.3 Outlet Fan - Auto mode | 0
Discrete Inputs | 1746 | No.4 Outlet Fan - Auto start | 0
Discrete Inputs | 1747 | No.4 Outlet Fan - Auto stop | 0
Discrete Inputs | 1748 | No.4 Outlet Fan - Abnormal trip | 0
Discrete Inputs | 1749 | No.4 Outlet Fan - Running | 0
Discrete Inputs | 1750 | No.4 Outlet Fan - Auto mode | 0
Discrete Inputs | 1751 | No.5 Outlet Fan - Auto start | 0
Discrete Inputs | 1752 | No.5 Outlet Fan - Auto stop | 0
Discrete Inputs | 1753 | No.5 Outlet Fan - Abnormal trip | 0
Discrete Inputs | 1754 | No.5 Outlet Fan - Running | 0
Discrete Inputs | 1755 | No.5 Outlet Fan - Auto mode | 0
Discrete Inputs | 1756 | Overhead crane - Abnormal trip | 0
Discrete Inputs | 1757 | Overhead crane - Running | 0
Discrete Inputs | 1758 | Air conditioner - Fault | 0
Discrete Inputs | 1759 | Viscosity controller - Fault | 0
Discrete Inputs | 1760 | L.O makeup Pump - Abnormal trip | 0
Discrete Inputs | 1761 | L.O makeup Pump - Running | 0
Discrete Inputs | 1762 | DO unloading pump - Abnormal trip | 0
Discrete Inputs | 1763 | DO unloading pump - Running | 0
Discrete Inputs | 1764 | HO unloading pump - Abnormal trip | 0
Discrete Inputs | 1765 | HO unloading pump - Running | 0
Discrete Inputs | 1766 | Inline heater - Auto start | 0
Discrete Inputs | 1767 | Inline heater - Auto stop | 0
Discrete Inputs | 1768 | Inline heater - Abnormal trip | 0
Discrete Inputs | 1769 | Inline heater - Running | 0
Discrete Inputs | 1770 | Inline heater - Auto mode | 0
Discrete Inputs | 1771 | HO settling tank heater- Auto start | 0
Discrete Inputs | 1772 | HO settling tank heater - Auto stop | 0
Discrete Inputs | 1773 | HO settling tank heater - Abnormal trip | 0
Discrete Inputs | 1774 | HO settling tank heater - Running | 0
Discrete Inputs | 1775 | HO settling tank heater - Auto mode | 0
Discrete Inputs | 1776 | No.1 HO purifier Heater - Fault | 0
Discrete Inputs | 1777 | No.2 HO purifier Heater - Fault | 0
Discrete Inputs | 1778 | No.1 HO purifier Pump - Abnormal trip | 0
Discrete Inputs | 1779 | No.1 HO purifier Pump - Running | 0
Discrete Inputs | 1780 | No.2 HO purifier Pump - Abnormal trip | 0
Discrete Inputs | 1781 | No.2 HO purifier Pump - Running | 0
Discrete Inputs | 1782 | No.1 HO service tank heater - Auto start | 0
Discrete Inputs | 1783 | No.1 HO service tank heater - Auto stop | 0
Discrete Inputs | 1784 | No.1 HO service tank heater - Abnormal trip | 0
Discrete Inputs | 1785 | No.1 HO service tank heater - Running | 0
Discrete Inputs | 1786 | No.1 HO service tank heater - Auto mode | 0
Discrete Inputs | 1787 | No.2 HO service tank heater - Auto start | 0
Discrete Inputs | 1788 | No.2 HO service tank heater - Auto stop | 0
Discrete Inputs | 1789 | No.2 HO service tank heater - Abnormal trip | 0
Discrete Inputs | 1790 | No.2 HO service tank heater - Running | 0
Discrete Inputs | 1791 | No.2 HO service tank heater - Auto mode | 0
Discrete Inputs | 1792 | HO line heater - Fault | 0
Discrete Inputs | 1793 | HO back wash filter - Fault | 0
Discrete Inputs | 1794 | No.1 F.O drain tank heater - Auto start | 0
Discrete Inputs | 1795 | No.1 F.O drain tank heater - Auto stop | 0
Discrete Inputs | 1796 | No.1 F.O drain tank heater - Abnormal trip | 0
Discrete Inputs | 1797 | No.1 F.O drain tank heater - Running | 0
Discrete Inputs | 1798 | No.1 F.O drain tank heater - Auto mode | 0
Discrete Inputs | 1799 | No.2 F.O drain tank heater - Auto start | 0
Discrete Inputs | 1800 | No.2 F.O drain tank heater - Auto stop | 0
Discrete Inputs | 1801 | No.2 F.O drain tank heater - Abnormal trip | 0
Discrete Inputs | 1802 | No.2 F.O drain tank heater - Running | 0
Discrete Inputs | 1803 | No.2 F.O drain tank heater - Auto mode | 0
Discrete Inputs | 1804 | Drain discharge pump - Abnormal trip | 0
Discrete Inputs | 1805 | Drain discharge pump - Running | 0
Discrete Inputs | 1806 | Make up water pump - Abnormal trip | 0
Discrete Inputs | 1807 | Make up water pump - Running | 0
Discrete Inputs | 1812 | Spare - Auto stop | 0
Discrete Inputs | 1813 | Spare - Abnormal trip | 0
Discrete Inputs | 1824 | Sludge transfer pump - Auto start | 0
Discrete Inputs | 1825 | Sludge transfer pump - Auto stop | 0
Discrete Inputs | 1826 | Sludge transfer pump - Abnormal trip | 0
Discrete Inputs | 1827 | Sludge transfer pump - Running | 0
Discrete Inputs | 1828 | Sludge transfer pump - Auto mode | 0
Discrete Inputs | 1829 | Spare - Auto start | 0
Discrete Inputs | 1832 | Spare - Running | 0
Discrete Inputs | 1833 | Spare - Auto mode | 0
Discrete Inputs | 1834 | No.1 Oily water drain pump - Abnormal trip | 0
Discrete Inputs | 1835 | No.1 Oily water drain pump - Running | 0
Discrete Inputs | 1836 | No.2 Oily water drain pump - Abnormal trip | 0
Discrete Inputs | 1837 | No.2 Oily water drain pump - Running | 0
Discrete Inputs | 1838 | Water supply pump - Abnormal trip | 0
Discrete Inputs | 1839 | Water supply pump - Running | 0
Discrete Inputs | 1840 | Lighting for Engine room | 0
Discrete Inputs | 1841 | Control Panel | 0
Discrete Inputs | 1846 | Heat trace No.1 | 0
Discrete Inputs | 1847 | Heat trace No.2 | 0
Discrete Inputs | 1848 | Heat trace No.3 | 0
Discrete Inputs | 1849 | Heat trace No.4 | 0
Discrete Inputs | 1850 | Heat trace No.5 | 0
Discrete Inputs | 1851 | Heat trace No.6 | 0
Discrete Inputs | 1852 | Heat trace No.7 | 0
Discrete Inputs | 1853 | Heat trace No.8 | 0
Discrete Inputs | 1854 | Heat trace No.9 | 0
Discrete Inputs | 1855 | Heat trace No.10 | 0
Discrete Inputs | 1856 | Heat trace No.11 | 0
Discrete Inputs | 1857 | Heat trace No.12 | 0
Discrete Inputs | 1858 | Heat trace No.13 | 0
Discrete Inputs | 1859 | Heat trace No.14 | 0
Discrete Inputs | 1860 | Heat trace No.15 | 0
Discrete Inputs | 1861 | Heat trace No.16 | 0
Discrete Inputs | 1862 | Heat trace No.17 | 0
Discrete Inputs | 1863 | Heat trace No.18 | 0
Discrete Inputs | 1864 | Heat trace No.19 | 0
Discrete Inputs | 1865 | Heat trace No.20 | 0
Discrete Inputs | 1866 | Heat trace No.21 | 0
Discrete Inputs | 1867 | Heat trace No.22 | 0
Discrete Inputs | 1868 | Heat trace No.23 | 0
Discrete Inputs | 1869 | Heat trace No.24 | 0
Holding Registers | 40001 | D/G#1 T/C Outlet Temp | 0
Holding Registers | 40002 | D/G#1 Oil Mist Level | 0
Holding Registers | 40003 | D/G#1 Stator Winding Temp U | 0
Holding Registers | 40004 | D/G#1 Stator Winding Temp V | 0
Holding Registers | 40005 | D/G#1 Stator Winding Temp W | 0
Holding Registers | 40006 | D/G#1 Bearing Temp (Fly-wheel side) | 0
Holding Registers | 40007 | D/G#1 Bearing Temp (Anit-Fly-wheel side) | 0
Holding Registers | 40008 | D/G#1 Cyl 1 Exhaust Temp | 0
Holding Registers | 40009 | D/G#1 Cyl 2 Exhaust Temp | 0
Holding Registers | 40010 | D/G#1 Cyl 3 Exhaust Temp | 0
Holding Registers | 40011 | D/G#1 Cyl 4 Exhaust Temp | 0
Holding Registers | 40012 | D/G#1 Cyl 5 Exhaust Temp | 0
Holding Registers | 40013 | D/G#1 Cyl 6 Exhaust Temp | 0
Holding Registers | 40014 | D/G#1 T/C Inlet Temp | 0
Holding Registers | 40015 | D/G#1 Fuel Oil Pressure | 0
Holding Registers | 40016 | D/G#1 Jacket Water Pressure | 0
Holding Registers | 40017 | D/G#1 Cooler Water Pressure | 0
Holding Registers | 40018 | D/G#1 Engine LO Pressure | 0
Holding Registers | 40019 | D/G#1 Turbo LO Pressure | 0
Holding Registers | 40020 | D/G#1 Intake Air Pressure | 0
Holding Registers | 40021 | D/G#1 Jacket Water Inlet Temp | 0
Holding Registers | 40022 | D/G#1 Jacket Water Outlet Temp | 0
Holding Registers | 40023 | D/G#1 Cooler Water Inlet Temp | 0
Holding Registers | 40024 | D/G#1 Cooler Water Outlet Temp | 0
Holding Registers | 40025 | D/G#1 LO Cooler Inlet Temp | 0
Holding Registers | 40026 | D/G#1 LO Cooler Outlet Temp | 0
Holding Registers | 40027 | D/G#1 TEMP. SENSOR FOR COOLER WATER BEFORE L.O. COOLER | 0
Holding Registers | 40028 | D/G#1 DO Engine Inlet Temp | 0
Holding Registers | 40029 | D/G#1 DO Engine Return Temp | 0
Holding Registers | 40030 | D/G#1 HO Engine Inlet Temp | 0
Holding Registers | 40031 | D/G#1 HO Engine Return Temp | 0
Holding Registers | 40033 | D/G#1 Generator Voltage | 0
Holding Registers | 40034 | D/G#1 Generator Frequency | 0
Holding Registers | 40036 | D/G#1 Generator Current | 0
Holding Registers | 40038 | D/G#1 Engine Power | 0
Holding Registers | 40039 | D/G#1 Engine Speed | 0
Holding Registers | 40051 | D/G#1 DO Transfer Flow | 0
Holding Registers | 40053 | D/G#1 DO Engine Inlet Flow | 0
Holding Registers | 40055 | D/G#1 DO Engine Return Flow | 0
Holding Registers | 40057 | D/G#1 HO Transfer Flow | 0
Holding Registers | 40059 | D/G#1 HO Engine Inlet Flow | 0
Holding Registers | 40061 | D/G#1 HO Engine Return Flow | 0
Holding Registers | 40063 | D/G#1 Engine Running hours | 0
Holding Registers | 40101 | D/G#2 T/C Outlet Temp | 0
Holding Registers | 40102 | D/G#2 Oil Mist Level | 0
Holding Registers | 40103 | D/G#2 Stator Winding Temp U | 0
Holding Registers | 40104 | D/G#2 Stator Winding Temp V | 0
Holding Registers | 40105 | D/G#2 Stator Winding Temp W | 0
Holding Registers | 40106 | D/G#2 Bearing Temp (Fly-wheel side) | 0
Holding Registers | 40107 | D/G#2 Bearing Temp (Anit-Fly-wheel side) | 0
Holding Registers | 40108 | D/G#2 Cyl 1 Exhaust Temp | 0
Holding Registers | 40109 | D/G#2 Cyl 2 Exhaust Temp | 0
Holding Registers | 40110 | D/G#2 Cyl 3 Exhaust Temp | 0
Holding Registers | 40111 | D/G#2 Cyl 4 Exhaust Temp | 0
Holding Registers | 40112 | D/G#2 Cyl 5 Exhaust Temp | 0
Holding Registers | 40113 | D/G#2 Cyl 6 Exhaust Temp | 0
Holding Registers | 40114 | D/G#1 T/C Inlet Temp | 0
Holding Registers | 40115 | D/G#2 Fuel Oil Pressure | 0
Holding Registers | 40116 | D/G#2 Jacket Water Pressure | 0
Holding Registers | 40117 | D/G#2 Cooler Water Pressure | 0
Holding Registers | 40118 | D/G#2 Engine LO Pressure | 0
Holding Registers | 40119 | D/G#2 Turbo LO Pressure | 0
Holding Registers | 40120 | D/G#2 Intake Air Pressure | 0
Holding Registers | 40121 | D/G#2 Jacket Water Inlet Temp | 0
Holding Registers | 40122 | D/G#2 Jacket Water Outlet Temp | 0
Holding Registers | 40123 | D/G#2 Cooler Water Inlet Temp | 0
Holding Registers | 40124 | D/G#2 Cooler Water Outlet Temp | 0
Holding Registers | 40125 | D/G#2 LO Cooler Inlet Temp | 0
Holding Registers | 40126 | D/G#2 LO Cooler Outlet Temp | 0
Holding Registers | 40127 | D/G#2 TEMP. SENSOR FOR COOLER WATER BEFORE L.O. COOLER | 0
Holding Registers | 40128 | D/G#2 DO Engine Inlet Temp | 0
Holding Registers | 40129 | D/G#2 DO Engine Return Temp | 0
Holding Registers | 40130 | D/G#2 HO Engine Inlet Temp | 0
Holding Registers | 40131 | D/G#2 HO Engine Return Temp | 0
Holding Registers | 40133 | D/G#2 Generator Voltage | 0
Holding Registers | 40134 | D/G#2 Generator Frequency | 0
Holding Registers | 40136 | D/G#2 Generator Current | 0
Holding Registers | 40138 | D/G#2 Engine Power | 0
Holding Registers | 40139 | D/G#2 Engine Speed | 0
Holding Registers | 40151 | D/G#2 DO Transfer Flow | 0
Holding Registers | 40153 | D/G#2 DO Engine Inlet Flow | 0
Holding Registers | 40155 | D/G#2 DO Engine Return Flow | 0
Holding Registers | 40157 | D/G#2 HO Transfer Flow | 0
Holding Registers | 40159 | D/G#2 HO Engine Inlet Flow | 0
Holding Registers | 40161 | D/G#2 HO Engine Return Flow | 0
Holding Registers | 40163 | D/G#2 Engine Running hours | 0
Holding Registers | 40201 | D/G#3 T/C Outlet Temp | 0
Holding Registers | 40202 | D/G#3 Oil Mist Level | 0
Holding Registers | 40203 | D/G#3 Stator Winding Temp U | 0
Holding Registers | 40204 | D/G#3 Stator Winding Temp V | 0
Holding Registers | 40205 | D/G#3 Stator Winding Temp W | 0
Holding Registers | 40206 | D/G#3 Bearing Temp (Fly-wheel side) | 0
Holding Registers | 40207 | D/G#3 Bearing Temp (Anit-Fly-wheel side) | 0
Holding Registers | 40208 | D/G#3 Cyl 1 Exhaust Temp | 0
Holding Registers | 40209 | D/G#3 Cyl 2 Exhaust Temp | 0
Holding Registers | 40210 | D/G#3 Cyl 3 Exhaust Temp | 0
Holding Registers | 40211 | D/G#3 Cyl 4 Exhaust Temp | 0
Holding Registers | 40212 | D/G#3 Cyl 5 Exhaust Temp | 0
Holding Registers | 40213 | D/G#3 Cyl 6 Exhaust Temp | 0
Holding Registers | 40214 | D/G#1 T/C Inlet Temp | 0
Holding Registers | 40215 | D/G#3 Fuel Oil Pressure | 0
Holding Registers | 40216 | D/G#3 Jacket Water Pressure | 0
Holding Registers | 40217 | D/G#3 Cooler Water Pressure | 0
Holding Registers | 40218 | D/G#3 Engine LO Pressure | 0
Holding Registers | 40219 | D/G#3 Turbo LO Pressure | 0
Holding Registers | 40220 | D/G#3 Intake Air Pressure | 0
Holding Registers | 40221 | D/G#3 Jacket Water Inlet Temp | 0
Holding Registers | 40222 | D/G#3 Jacket Water Outlet Temp | 0
Holding Registers | 40223 | D/G#3 Cooler Water Inlet Temp | 0
Holding Registers | 40224 | D/G#3 Cooler Water Outlet Temp | 0
Holding Registers | 40225 | D/G#3 LO Cooler Inlet Temp | 0
Holding Registers | 40226 | D/G#3 LO Cooler Outlet Temp | 0
Holding Registers | 40227 | D/G#3 TEMP. SENSOR FOR COOLER WATER BEFORE L.O. COOLER | 0
Holding Registers | 40228 | D/G#3 DO Engine Inlet Temp | 0
Holding Registers | 40229 | D/G#3 DO Engine Return Temp | 0
Holding Registers | 40230 | D/G#3 HO Engine Inlet Temp | 0
Holding Registers | 40231 | D/G#3 HO Engine Return Temp | 0
Holding Registers | 40233 | D/G#3 Generator Voltage | 0
Holding Registers | 40234 | D/G#3 Generator Frequency | 0
Holding Registers | 40236 | D/G#3 Generator Current | 0
Holding Registers | 40238 | D/G#3 Engine Power | 0
Holding Registers | 40239 | D/G#3 Engine Speed | 0
Holding Registers | 40251 | D/G#3 DO Transfer Flow | 0
Holding Registers | 40253 | D/G#3 DO Engine Inlet Flow | 0
Holding Registers | 40255 | D/G#3 DO Engine Return Flow | 0
Holding Registers | 40257 | D/G#3 HO Transfer Flow | 0
Holding Registers | 40259 | D/G#3 HO Engine Inlet Flow | 0
Holding Registers | 40261 | D/G#3 HO Engine Return Flow | 0
Holding Registers | 40263 | D/G#3 Engine Running hours | 0
Holding Registers | 40301 | D/G#4 T/C Outlet Temp | 0
Holding Registers | 40302 | D/G#4 Oil Mist Level | 0
Holding Registers | 40303 | D/G#4 Stator Winding Temp U | 0
Holding Registers | 40304 | D/G#4 Stator Winding Temp V | 0
Holding Registers | 40305 | D/G#4 Stator Winding Temp W | 0
Holding Registers | 40306 | D/G#4 Bearing Temp (Fly-wheel side) | 0
Holding Registers | 40307 | D/G#4 Bearing Temp (Anit-Fly-wheel side) | 0
Holding Registers | 40308 | D/G#4 Cyl 1 Exhaust Temp | 0
Holding Registers | 40309 | D/G#4 Cyl 2 Exhaust Temp | 0
Holding Registers | 40310 | D/G#4 Cyl 3 Exhaust Temp | 0
Holding Registers | 40311 | D/G#4 Cyl 4 Exhaust Temp | 0
Holding Registers | 40312 | D/G#4 Cyl 5 Exhaust Temp | 0
Holding Registers | 40313 | D/G#4 Cyl 6 Exhaust Temp | 0
Holding Registers | 40314 | D/G#1 T/C Inlet Temp | 0
Holding Registers | 40315 | D/G#4 Fuel Oil Pressure | 0
Holding Registers | 40316 | D/G#4 Jacket Water Pressure | 0
Holding Registers | 40317 | D/G#4 Cooler Water Pressure | 0
Holding Registers | 40318 | D/G#4 Engine LO Pressure | 0
Holding Registers | 40319 | D/G#4 Turbo LO Pressure | 0
Holding Registers | 40320 | D/G#4 Intake Air Pressure | 0
Holding Registers | 40321 | D/G#4 Jacket Water Inlet Temp | 0
Holding Registers | 40322 | D/G#4 Jacket Water Outlet Temp | 0
Holding Registers | 40323 | D/G#4 Cooler Water Inlet Temp | 0
Holding Registers | 40324 | D/G#4 Cooler Water Outlet Temp | 0
Holding Registers | 40325 | D/G#4 LO Cooler Inlet Temp | 0
Holding Registers | 40326 | D/G#4 LO Cooler Outlet Temp | 0
Holding Registers | 40327 | D/G#4 TEMP. SENSOR FOR COOLER WATER BEFORE L.O. COOLER | 0
Holding Registers | 40328 | D/G#4 DO Engine Inlet Temp | 0
Holding Registers | 40329 | D/G#4 DO Engine Return Temp | 0
Holding Registers | 40330 | D/G#4 HO Engine Inlet Temp | 0
Holding Registers | 40331 | D/G#4 HO Engine Return Temp | 0
Holding Registers | 40333 | D/G#4 Generator Voltage | 0
Holding Registers | 40334 | D/G#4 Generator Frequency | 0
Holding Registers | 40336 | D/G#4 Generator Current | 0
Holding Registers | 40338 | D/G#4 Engine Power | 0
Holding Registers | 40339 | D/G#4 Engine Speed | 0
Holding Registers | 40351 | D/G#4 DO Transfer Flow | 0
Holding Registers | 40353 | D/G#4 DO Engine Inlet Flow | 0
Holding Registers | 40355 | D/G#4 DO Engine Return Flow | 0
Holding Registers | 40357 | D/G#4 HO Transfer Flow | 0
Holding Registers | 40359 | D/G#4 HO Engine Inlet Flow | 0
Holding Registers | 40361 | D/G#4 HO Engine Return Flow | 0
Holding Registers | 40363 | D/G#4 Engine Running hours | 0
Holding Registers | 40401 | PRESS SENSOR FOR AIR RECEIVER | 0
Holding Registers | 40402 | PRESS SENSOR FOR AIR RECEIVER | 0
Holding Registers | 40403 | PRESS SENSOR FOR AIR RECEIVER | 0